**JABALPUR SAHAKARI DUGDH SANGH MARYADIT**

DAIRY PLANT . KARONDANALA, IMALIYA, JABALPUR

**Phone no:- 09425386044 E-mail -**[**jdssanchipurchase@gmail.com**](mailto:jdssanchipurchase@gmail.com)

GST : 23AAAAJ0485D1Z6Pan : AAAAJ0485D

(AN ISO 9001:2008 And 22000:2005 CERTIFIED ORGANISATION)

----------------------------------------------------------------------------------------------

Tender Ref No: 3164 /JSDSM/ 2019/Jabalpur Date. 23.08.2019

**NIT**

Online (E Tender) tenders are invited for Supply**of Milk Testing Equipments**, **Items**at Dairy Plant Jabalpur SahakariDugdh Sangha Maryadit.

As per the key dates mentioned on the website <https://www.mptenders.gov.in>

Tender document can be purchased online only from <http://www.mptender.gov.in> by making an online payment.

The tender is available for purchase/download from :- 23.Aug.2019

* Last date &time for Purchase of tender form :- 12.Sep.2019 at 012:00 PM
* Last date & time of submission of Tender : - 13.Sep.2019 at 12:00 PM
* Opening Of Tender :- 13.Sep.2019 at 04:00 PM

The bid documents are also available in the website at <http://www.mpcdf.gov.in>.

**CHIEF EXECUTIVE OFFICER**

**Jabalpur SahakariDugdhSanghMaryadit**

JABALPUR SAHAKARI DUGDHA SANGH MYDT, JABALPUR

**SCHEDULE - I**

**TERMS & CONDITIONS:**

1. **RATES:** Should be FOR, plant Basis (Freight + Packing & Forwarding etc. are included ) if mention extra/actual, clearly specified the percentage of basic rate for Packing+ Forwarding & Freight etc,

2. **TAXES :** Should be specified clearly in the Quotation.

3. **VALIDITY :** Offer should be valid for at least **One Year**

4.**TERMS OF:**Our normal terms of payment is full payment after receipt

**PAYMENT**inspection and acceptance of material in our stores within a period of 30 days and in case of rejection no payment will be effected

5. **OFFER** :(A)The supplier shall deposit the Earnest Money Amount (EMD) as mentioned inBid invitation and General information’s ., payable online during uploading of the tender at <https://mptender.gov.in>only.EMD will not be accepted in cash at Finance section JSDS or in the demand draft.Bidder shall upload scan copy of the transaction no./ receipt obtained through online payment as proof of successful payment. In case the supplier withdraws his offer during the validity period,after placement of order, the EMD amount shall be forfeited.

( \* ) E.M.D. shall be Rs. 5,000/- **separately**

(B) Any tender which is not accompanied by the earnest money

deposit are liable tobe rejected. Earnest money depositof

unsuccessful tenders will be returnedwithin 90 days from

the date of opening of the tenders. The Earnest Money deposit ofthe successful tenders will be released on completion of

supply / work as the case may be within the stipulated. period.

(C)No interest will be paid on the E.M.D. for the period during

which it lies in deposit with the Jabalpur SahakariDugdha

SanghJabalpur.

1. ) REJECTION /RECTIFICATIONS :

A)The rejected material should be rectified or replacement with in 15 days from our first intimation otherwise the rejected material will be disposed off at your own risk and cost.

B) Unless and until the rejected material is replaced, no further orders will be released, more over all the pending payment will be stoppedimmediately.

7)ACCEPTANCE OF PART/WHOLE TENDERS & NEGOTIATION OVER TENDERERS RIGHTS THEREOF :

A ) Chief Executive Officer, Jabalpur Sahakari. DugdhaSanghMydt, the Power To Negotiate With lowest tender On The tender date Or Any Suitable date decided there off.

B) JABALPUR SAHAKARI DUGDH SANGHA MARYADIT, JABALPUR-.reserves the right to accept/ reject wholly or partly any tender without assigning any reason whatsoever. The JABALPUR SAHAKARI DUGDH SANGHAMARYADIT, JABALPUR-.in this regard shall not entertain anycorrespondence.

8). THE TENDERERS HAS TO DEPOSIT EARNEST MONEY as described at S.No.( 5 )- (B) for this schedule .

9) FAILURE AT ADHERE TO THESE INSTRUCTION will be render the offer liable for rejections.

10) We will avail liberty to purchase   
required quantity in whole or part.

11) The tender has to submit the documents relating to the “PAN” number of the tender & valid “ GSTIN “ number .The tender without “ GSTIN “ number shall be treated as non responsive.

12) The Chief Executive Officer reserves the right to accept/reject any or all the tenders or its parts without assigning any reason thereoff**.**

13) Any dispute arised for the interpretation of any word or clause of this contract will be settled through an arbitration chaired by the chairman of Jabalpur DugdhSangh,whose decision shall be binding to both of the bodies.

14) For all disputes the Jurisdiction shall be Jabalpur,no court outside Jabalpur will have any Jurisdiction

**Chief Executive Officer**

**JABALPUR SAHAKARI DUGDHA SANGH MARYADIT JABALPUR**

**List of Milk Testing Equipment’s**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No | **Description Of Material** | | **Specification** | **Unit packing** | **Required Quantity** |
| 1 | Acid tilt measure | | -10. ml with rubber cork made of corning glass suitable for sulphuric acid | 2 Nos. packed in each acrd board packing | 5000 Nos |
| - 10 ml with rubber cork made of acid resist plastic |
| 2 | PVC Tanker Loading Unloading Pipe | | -51 MM Food Grades ISI Make | 1 Mtr | 100Mtr |
| 3 | A I Sheaths | | SA-1/50 | 01 Pkt |  |
| 4 | Alcohol tilt measure | | -1 ml with rubber cork made of corning glass | 2 Nos. packed in each acrd board packing | 5000 Nos. |
| -1 ml with rubber cork made of plastic |
| 5 | Acid HDPE Jerry can | | 20 Ltr. Cap., white color approx. weight 1 kg. Suitable for sulphuric acid, non stackable | One No. | 5000 Nos. |
| 6 | Alcohol HDPE Jerry Can | | 2.5 Ltr. White color approx. weight 250 gms,non stackable. | One No. | 5000 Nos. |
| 7 | Milk Butyrometer | | ISI marked, permanent silver screened graduated tubes non fading lines | 10 Nos. pkd, in each pkt. | 20,000 Nos. |
| 8 | Butyrometer Holding Stand | | Made of Plastic and good finishing 12 holes diameter 27 mm | One No. | 500 Nos. |
| 9 | Butyrometer –shaking stand | | Made of teak wood and good finishing 24 holes diameter 27 mm/ make of plastic | One No. | 2000 Nos. |
| Made of Plastic and good finishing 24 holes diameter 27 mm |
| 10 | PVC Tanker Loading Unloading Pipe | | 51 MM food grades ISI Make | 01Mtr. | 100 Mtr |
| 38 MM food grades ISI Make | 01 Mtr. | 100 Mtr |
| 11 | Butrometer Brush | | Nylon thread |  | -- |
| 12 | Centrifugal Machine, Hand driven | | ISI mark suitable for 24 test solid construction.  /ASHA/Sonu/Laksmi/Sanraj/Limmco make/ Other Reputed Brand | One No. | 500 Nos. |
| 13 | Centrifugal Machine, Electrical | | ISI mark suitable for 24 test solid construction.  /ASHA/Sonu/Laksmi/Sanraj/Limmco make/ Other Reputed Brand | One No. | 500 Nos. |
| 14 | Lactometer | | Zeal type, range 0-40 calibrated at 84º F, as per ISI specification guarantee accurate per pcs. | One No. per pkt. | 5000 Nos. |
| 15 | Lactometer – Jar | | Aluminum suitable for above lactometer | One No. | 5000 No |
| 16 | Lock – stopper’s | | S.S.,Size-35x65mm (B-304, S.Steal only) | One No. | 10,000 Dozen |
| ISI Marked, garber type with brass cap | 12 Nos. Pkd. In each Pkt. | 10,000 Dozen |
| 17 | Lock – Stopper’s Key | | Aluminum | One No. | 500 Nos. |
| 18 | | Milk collection tray | size 24’’L x 18’’ w x 2.5’’ H one hole in high side 2’’ with out let. (B-304,S.Steel only) | Wt.-.3 Kgs + 5 %  One Noz | 100 Nos. |
| 22 Gauge G.I.Sheet size 30’’L x 20’’ w x 3’’ H one hole in high side 2’’ with-out let. | Wt.-.4 Kgs + 5 %  One No. | 100 Nos. |
| Wt.-.5 Kgs + 5 %  One No.. | 100 Nos. |
|  | Milk strainer with sieves | | Prepared from aluminum sheet with brass wire mesh one piece/with locking clip duly anodized/Dia – 13’’ | One No. | 500 Nos. |
| 20 | Milk strainer sieves only | | **B-304,S.Steel** | One No. | 2000 Nos. |
| Outer cover made from aluminum sheet with cross support in one piece with brass wire mesh. | One No. | 2000 Nos. |
| 21 | Milk Strainer | | 13” Diameter with clamp  (Weight 900 grams +10 grms )  **(B-304,S. Steel)** | One No. | 2000  Nos. |
| 22 | Milk Plunger | | Aluminum 6’’ dia base plate &,30’’ long rod base plate thickness ¾ mm | One No. | 500  Nos. |
| S.S.,30” Long,7 mm thick rod 6” diameter plate **(B-304,S. Steel)** | One No. | 500  Nos. |
| 23 | Nylon Cloth | | 40-60 Mesh, heavy Duty | Per Meter | 500 Mtr |
| 24 | Milk sampler | | 50 ml cap, prepared from aluminum/4 mm thick alu. Round wiry handle duly anodised | One No. | 1000 Nos |
| 25 | Milk measuring set | | 1000 + 500 + 200 +100 ml per set aluminum & S.S./ duly stamped by w & | One Set Aluminum | 500 sets |
| 26 | Milk Pipette | | 10.75 ml, ISI marked corning glass | 25 Nos. Packed in each pkt. | 5000 500  Nos. |
| 27 | Pipette brush | | Nylon thread | 1 grs. Bunch | 70 Grs |
| 28 | Pipette stand | | Plastic for 8 pipette | One No | 100 Nos |
| 29 | Sample Bottle | | Plastic ,Whitecolour, 110+10 ml cap. Diameter 32 mm+1 with cap,body dia.38+1 mm | One No | 10,000  Nos |
| S.S.,100 ml. **(B-304,S. Steel)** | One No | 10,000  Nos |
| 30 | Sample Bottle Brush | | Nylon thread | 1 grs. Bunch | 70 Grs |
| 31 | Sample Bottle Stand | | Prepared from 20 gauge thick best quality aluminum sheet with 24 holes with round wire handle duly anodized/ holes diameter 35-40 mm | One No | 500 Nos |
| S.S. with 24 holes **(B-304,S. Steel)** 600 gms+5 % | One No | 500 Nos |
| 31 | Thermometer | | Zeal type Mercury/Alcohol filled/ -10º C to 110º C minimum graduation 0.5º c | One No | 1000 Nos |
| 32 | Plastic Funnel | | White color, 5 ½ ‘’ dia | One No | 500 Nos |
| A | Spare parts for centrifugalmachine(Hand-Driven) | | Suitable for ASHA/LAKSHMI/SONU/SANRAJ/LMMCO / Other Reputed Brand | | |
| Plastic/Aluminum holder or clamp for | | "-------DO-------" | One No | 500 Nos |
| B | Ball Bearing | | "-------DO-------" | One No | 500 Nos |
| C | Gear wheel | | "-------DO-------" | One No | 500 Nos |
| D | Shaft for Gear | | "-------DO-------" | One No | 500 Nos |
| E | Warm spindle | | "-------DO-------" | One No | 500 Nos |
| F | Handle with screw | | "-------DO-------" | One No | 500 Nos |
| G | Garber machine socket | | "-------DO-------" | One No | 500 Nos |
|  |  | |  |  |  |

**Name of Firm Signature Seal**

.